## Appendix B - Addendum #1
Appendix B (Addendum #1) - Guaranteed Performance
Blue shaded cells are input cells. All blue shaded cells must be completed. Complete all cells as applicable.
Notes:
1.) Values shall account for long-term performance degradation. Provide references to any attached correction or degradation curves.
2.) Contract Capacity values at Transfer Date and over the contract term shall be equal for BOOT contracts.
| Guaranteed Value at Transfer Date (BOT and BOOT Contracts) | Guaranteed Value Over Energy Storage Contract Term (BOOT Contract) (1)
Guaranteed Capacity (MW) Contract Capacity (MW)
Guaranteed Capacity (MWh) Contract Capacity (MWh)
Assumed Cycles per Year
Maximum Cycles per Year
Guaranteed Ramp Rate (MW/min)
Minimum Ramp Rate (MW/min)
Discharge Ramp Rate (MW/min)
Maximum run time per charge (min)
Minimum run time per charge (min)
Maximum run time per discharge (min)
Minimum run time per discharge (min)
Guaranteed Round Trip Efficiency (%)
Guaranteed Availability (%)
Maximum State of Charge (%)
Minimum State of Charge (%)
Preferred Resting State of Charge Range (% - %)
Capacity and System Efficiency Degradation
Standby Losses (%)
Planned Outages (hours / year)